# Minutes of Meeting by NAVFarm/Prudence

Subject: AI Lab Visit – Semen Collection, Extraction & Distribution Process

Date: August 19, 2026

Venue: AI Lab (Colcom)

From Triple C attendees are:

- Mr. Terence Burekeni

- Mr. Hama

From Prudence Technologies attendees are:

- Mr. Abhinav

- Mr. Paul

- Mr. Young

## 1. Purpose of Visit

To observe and understand the end-to-end process followed at the AI Lab for boar semen collection, extraction, dilution and distribution.

## 2. Key Points Discussed / Observed

### 2.1 Boar Classification & Genetic Data

- Boars are classified using Boar's ranking which comes from Topigs.

- Key parameters tracked per boar: TSI, Genetic Level, Genetic Ranking.

- All these details are provided and maintained through the Topigs App.

### 2.2 Hygiene Protocol

- A Hygiene Audit is conducted on a monthly basis.

### 2.3 Semen Collection Process

- After semen is collected, it is weighed.

- The temperature is recorded manually.

### 2.4 Water Bath & Temperature Control

- The temperature difference between the water bath (MS dilute) and the open bucket should be maintained at (-)(+)1 degree.

- Example noted: if the original semen temperature is around 33–35°, the water bath temperature (MS dilute) should be set to approximately 32°

- After mixing, semen is left to rest in the bucket for 15 minutes.

- Individual doses are then counted.

- When the semen is mixed with MS dilute and they both  need to be at the same temperature (+) (-) 2 Degree.

- Then it is left for 15 minutes to come on 24°

- Then they are again mixed with MS dilute which is kept in the fridge at a constant temperature of 24 degree to make the dosage according the parameters provided.

### 2.5 Dose Calculation

- A dilution table is required to calculate the number of doses.

### 2.6 Boar Collection Schedule

- T1 – Sunday

- T2 – Wednesday

- Tempo numbering: 1 to 8

  - Sunday: 8 boars

  - Wednesday: 4 boars

## 3. Open Points / To Be Confirmed

- Exact original semen temperature value and corresponding water-bath set point (MS dilute)

- Exact "Final Temp" value under the QC Module.

- Confirm term in QC Parameter

- Person/contact name from the lab who conducted the walkthrough (signature noted but not clearly legible).

## 4. Action Items

| # | Action Item | Owner | Status |
| --- | --- | --- | --- |
| 1 | Confirm exact temperature values (original semen temp, water bath temp, final temp) with lab contact | — | Open |
| 2 | Obtain/document the dilution table used for dose calculation | — | Open |
| 3 | Get clarity on QC Parameter #2 (Conductivity /connectivity) | — | Open |
| 4 | Share hygiene audit checklist/format used monthly | — | Open |

## 5.  QC Module (Required)

- Final temperature check noted at 17° at the final stage

- AI QC record includes: Lot No.

- AI QR record includes:

  - Boar No.

  - Type (L Line / Z Line / Tempo)

  - Time

  - Date

  - Standards

  - Reading

  - Boar Age

  - In L & Z boar number will be also included.

### 5.1 QC Parameters (Checked on Lot Basis)

- pH

- Connectivity

- Conductivity

- Temperature

### New Requirements:

- QC Module

- Gate Online Entry QR Based

- AI Station- Online Visitor Form